2025 Annual Drinking Water Quality Report

Village of Dresden

PO Box 156

3 Firehouse Avenue

Dresden, NY 14441

(Public Water Supply ID# NY6101261)

#### Introduction

To comply with State regulations, Penn Yan Municipal Water Treatment Plant, will be annually issuing a report describing the quality of your drinking water.  The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources.  Last year, your tap water met all State drinking water health standards.  We would like to report that our system did receive two violations, however.

The first Violation was for a Water Sampling violation, for an uncompleted water quality test, not a violation of a maximum contaminant level or any other water quality standard.  The second violation was for Monitoring and Reporting Violation – Lead and Copper.

Last year, we conducted tests for over 100 contaminants. None of those contaminants were detected at a level higher than the state allows.   This report provides an overview of last year’s water quality.  Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact Melissa Gerhardt, Director of Public Works, at (315)536-3374.  We want you to be informed about your drinking water.  If you want to learn more, please attend any of our regular Municipal Utilities Board meetings. The meetings are held at 111 Elm Street, Penn Yan, in the 2nd floor MUB meeting room.  The meeting is held on Thursday before the third Tuesday of each month at 9:00 AM.  For more information, call the Municipal Office at 315-536-3374 on weekdays between 7:30 AM and 4:30 PM.  For the hearing impaired, the TDD number is 1-800-662-1220.

#### Where Does My Water Come From?

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals, and in some cases radioactive material and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include: microbial contaminants, inorganic contaminants, pesticides and herbicides, organic chemical contaminants, and radioactive contaminants.  To ensure that tap water is safe to drink, the State and the Environmental Protection Agency (EPA) prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. The State Health Department and Food and Drug Administration regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Our sole water source is surface water from Keuka Lake. During 2025, our system did not experience any restriction of its water source.  The water is pumped from the lake to the Water Treatment Plant located at 1515 West Lake Road. John Collins is the Chief Operator at the plant. After filtration, disinfection, fluoridation, and corrosion control treatment, the water is pumped to a two-million gallon reservoir on the hill above the plant. The water then enters the distribution system by means of gravity.

#### Source Water Assessment Report

Source Water Assessment Report A report was completed under the New York State Department of Health’s Source Water Assessment Program (SWAP). The information contained in the report assists the State in overseeing public water systems and helps local authorities protect the quality of their source water. It is important to note that source water assessment reports estimate the potential for untreated drinking water sources to be impacted by contamination. These reports do not address the safety or quality of treated, finished, potable tap water.

#### Executive Summary - Water Assessment Report

This assessment found an elevated susceptibility to contamination for this source of drinking water. The number of agricultural lands in the assessment area results in elevated potential for phosphorus, DBP (disinfection by products) precursor and pesticide contamination. While there are some facilities present, permitted discharges do not likely represent an important threat to source water quality based on their density in the assessment area. However, it appears that the total amount of wastewater discharged to surface water in this assessment area is high enough to further raise the potential for contamination, particularly for protozoa. There is also noteworthy contamination susceptibility associated with other discrete contaminant sources and these facility types include CBS (Chemical Bulk Storage) and IHWS (Inactive Hazardous Waste Site).

#### Facts and Figures

Our water treatment facility is a regional plant, owned by the Village of Penn Yan, which serves approximately 700 residents in the Village of Dresden and along NYS Route 54 that are also served by the Water Treatment Plant though 242 service connections The total amount of water produced in 2025 was 358,691,600 gallons. The amount of water delivered to all customers in 2025 was 312,054,731 gallons of which 167,833,439 gallons were sold to Village of Penn Yan accounts and 144,221,292 gallons to customers in the other municipalities. A total of 19,283,121 gallons were unavailable for resale, leaving an unaccounted total of 13,389,748 gallons, which was used to flush mains, fight fires, back wash the plant’s filters, water main breaks, or was lost through leakage. The daily average amount of water produced per day in 2025 was 945,454 gallons with highest single day of production totaling 1,670,200 gallons.

In 2025, water customers in the Village of Dresden were charged $11.90 per 1,000 gallons of water every two months. Water customers outside the Village of Dresden were charged $13.90 per 1,000 gallons every two months. Water customers in and outside the Village are charged a flat connection fee ($19.00) per EDU (Equivalent Dwelling Unit).

#### Are there contaminants in my drinking water?

As the state regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include; total coliform, turbidity, inorganic compounds, nitrates, lead and copper, volatile organic compounds, total trihalomethanes, haloacetic acids, radiological and synthetic organic compounds. The following table depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. This is why some of our data – though representative – could be more than one year old. It should be noted that all drinking water, including bottled drinking water, could reasonably be expected to contain at least some small amounts of contaminants. The presence of contaminants does not necessarily indicate that the drinking water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the New York State Department of Health’s Geneva Office (315-789-3030).

Annual Water Quality Report Tables

| Inorganic Contaminants |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes / No | Date of Sample | Level Detected (Avg.) | Unit of Measurement | MCLG | Reg. Limit (MCL, TT, or AL) | Likely Source of Contamination |
| Fluoride | No | 8/6/2025 | 0.6 | ppm | N/A | 2.2 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer |
| Barium | No | 8/7/2024 | 0.015 | ppm | 2 | 2 | Discharge from drilling waste; discharge from metal refineries; erosion of natural deposits |
| Nitrate | No | 5/7/2025 | 0.12 | ppm | -- | 10 | Runoff from fertilizer use; leaching from septic tanks; sewage; erosion of natural deposits |
| Copper (2) | No | 6/7/2023 | (range) 0.01– 0.26 (90th Percentile) 0.13 | ppm | -- | 1.3 | Erosion of natural deposits; leaching; corrosion of household plumbing system; wood preservatives |
| Lead (3) | No | 6/7/2023 | (range) ND – 23 (90th Percentile) 1.5 | ppb | -- | 15 | Erosion of natural deposits; corrosion of household plumbing systems |
| Arsenic | No | 8/7/2024 | < 0.001 | ppm | -- | 0.01 | Natural erosion; agriculture and manufacturing operation discharge; mostly from wood preservative chemicals |
| Nickel | No | 8/7/2024 | 0.71 | ppm | -- | 0.1 | The source is electroplated metal coatings; alkaline batteries; alloys like metal welding rods and solder |
| Sodium | No | 8/6/2025 | 2.2 | ppm | N.A. | See Health Effects | Naturally occurring; road salt; water softeners; animal waste |

(2) The level presented represents the 90th percentile of the 30 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it. The 90th percentile is equal to or greater than 90% of the copper values detected at your water system.  The action level for copper was not exceeded at any of the sites tested.

(3) The level presented represents the 90th percentile of the 30 samples collected. The action level for lead was not exceeded at any of the sites test

| Microbiological Contaminants |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes / No | Date of Sample | Level Detected (Avg.) | Unit of Measurement | MCLG | Reg. Limit (MCL, TT, or AL) | Likely Source of Contamination |
| Turbidity Filters Highest Monthly Average | No | 8/2025 9/2025 | 0.14 0.12 | NTU | -- | TT= 95% of samples <0.3 NTU: This number is not to exceed 1.0 NTU | Soil Runoff |
| Turbidity Filters Single Highest Reading | No | 8/31/2025 9/1/2025 | 0.18 0.20 | NTU | -- | TT= 95% of samples <0.3 NTU: This number is not to exceed 1.0 NTU | Soil Runoff |
| Turbidity Distribution System Highest Monthly Avg. | No | 8/2025 9/2025 | 0.17 0.17 | NTU | -- | TT= 95% of samples <0.3 NTU: This number is not to exceed 1.0 NTU | Distribution System |

Note: Turbidity is a measure of the cloudiness of the water.  We test it because it is a good indicator of the effectiveness of our filtration system. State regulations require that turbidity in the distribution system must always be below 5.0 NTU.

| Microbiological Contaminants |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes / No | Date of Sample | Level Detected (Avg.) | Unit of Measurement | MCLG | Reg. Limit (MCL, TT, or AL) | Likely Source of Contamination |
| Total Coliform | No | Six Samples per Month | -- | -- | -- | MCL = 2 or more positive samples in one month | Naturally present in the environment |

| Radiological Contaminants |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes / No | Date of Sample | Level Detected (Avg.) | Unit of Measurement | MCLG | Reg. Limit (MCL, TT, or AL) | Likely Source of Contamination |
| Gross Alpha activity | No | 7/10/2019 | Gross Alpha 0.136 | pCi/L | -- | 15 pCi/L | Erosion of Natural Deposits |
| Radium-226 Radium-228 | No | 7/10/2019 | Radium-266 0.121 + Radium-228 0.333 Total: 0.454 | pCi/L | -- | 5 pCi/L | Erosion of Natural Deposits |

| Disinfection By-Products Stage 2 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Yes / No | Date of Sample | Level Detected (Avg.) | Unit of Measurement | MCLG | Reg. Limit (MCL, TT, or AL) | Likely Source of Contamination |
| TTHM (Total Trihalomethanes) | No | 2/4/2025 5/6/2025 8/5/2025 11/4/2025 | Max LRAA 50.375 Range of Results 17.70 – 63.70 | ppb | -- | 80 | By-product of drinking water chlorination needed to kill harmful organisms. THMs are formed when source water contains large amounts of organic matter, |
| HAA5’s (Haloacetic Acids) | No | 2/4/2025 5/7/2025 8/11/2025 11/4/2025 | Max LRAA 16.875 Range of Results 13.90 - 19.90 | ppb | -- | 60 | By-product of drinking water disinfection needed to kill harmful organisms |

Note: This level represents the highest Locational Running Annual Average calculated from data collect

Definitions:

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

Non-Detects (ND): Laboratory analysis indicates that the constituent is not present.

Nephelometric Turbidity Unit (NTU): A measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Milligrams per liter (mg/l): Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).

Micrograms per liter (ug/l): Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

ppb: Parts per billion (same as “micrograms per liter” – ug/L).

ppm: Parts per million (same as “milligrams per liter” – mg/L).

WHAT DOES THIS INFORMATION MEAN?

As you can see by the table, our system had no violations.  We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below New York State requirements, but we are required to provide the following information on lead in drinking water:

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. The Penn Yan Municipal Water Treatment Plant is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact Penn Yan Municipal Office at (315) 536-3374 weekdays between 7:30 am and 4:30 pm. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead.

IS OUR WATER SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?

We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether your drinking water meets health standards.

During 2024, Penn Yan did not complete all testing” for Arsenic, Barium, and Nickel, and therefore cannot be sure of the quality of your drinking water during that time.

During 2025, the Village of Dresden’s system was in full compliance with applicable State drinking water operating, monitoring, and reporting requirements. Except for the month of August. The Village of Dresden is required to monitor your drinking water for specific contaminants on a regular basis. Results of regular

monitoring are an indicator of whether your drinking water meets health standards. During the month of August 2025, we did not fully monitor or test for disinfection by-products and, therefore, cannot be sure of the quality of your drinking water during that time.

The Village of Dresden received a Monitoring and Reporting Violation - 40 CFR 141.85€ (a federal regulation regarding lead and copper in drinking water) requires that water systems deliver annual consumer notification of lead, galvanized requiring replacement, or lead status unknown service lines and deliver lead service line information materials to affected consumers no later than 30 days after completion of the baseline inventory.  40 CFR 14.90(f)(4) requires that water systems certify that it delivered the materials in accordance with 40 CFR 141.85€ by July 1st annually.  The Village of Dresden failed to deliver lead service line information materials to affected consumers by November 15th, 2024. Unknown notification deliveries were delayed as the Village is waiting until the Water Infrastructure Project begins, summer/fall of 2026.

INFORMATION ON LEAD SERVICE LINE INVENTORY

A Lead Service Line (LSL), is defined as any portion of a pipe that is made of lead which connects the water main to the building inlet.  A Lead Service Line may be owned by the water system, by the property owner, or both.  The inventory includes both potable and non-potable Service Lines within a system.  In accordance with the federal Lead and Copper Rule Revisions (LCRR), our system has prepared a lead service line inventory and has made it publicly accessible by visiting our office during normal office hours, M-F 8am-2:00pm

DO I NEED TO TAKE SPECIAL PRECAUTIONS?

Although your drinking water meets or exceeds state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immuno-compromised people such as people with cancer undergoing chemotherapy, people who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

INFORMATION OF SODIUM

Water containing more than 20mg/l of sodium should not be used for drinking by people on severely restricted sodium diets.  Water containing more than 270mg/l of sodium should not be used for drinking by people on moderately restricted sodium diets.

INFORMATION ON FLUORIDE ADDITION

Our system is one of the many drinking water systems in New York State that provides drinking water with a controlled, low level of fluoride for consumer dental health protection.  According to the United States Centers for Disease Control, fluoride is very effective in preventing cavities when present in drinking water at a properly controlled level.  To ensure that the fluoride supplement in your water provides optimal dental protection, we monitor fluoride levels daily to make sure fluoride is maintained at a target level of 0.7 mg/l.  During 2025 monitoring showed that fluoride levels in your water were within 0.2 mg/l of the target level for 95% of the time.  None of the monitoring results showed fluoride at levels that approach the 2.2 mg/l MCL for fluoride.

#### System Improvements

In 2025, we did not have the need for any major upgrades. The Water Infrastructure Project construction should begin in the summer/fall of 2026.

WHY SAVE WATER AND HOW TO AVOID WASTING IT?

Although our system has an adequate amount of water to meet present and future demands, there are several reasons why it is important to conserve water:

- Saving water saves energy and some of the costs associated with both necessities of life;

- Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and

- Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential firefighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can.  It is not hard to conserve water.  Conservation tips include:

- Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded.  So, get a run for your money and load it to capacity.

- Turn off the tap when brushing your teeth.

- Check every faucet in your home for leaks.  Just a slow drip can waste 15 to 20 gallons a day.  Fix it and you can save almost 6,000 gallons per year.

- Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl.  It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks.  Fix it and you save more than 30,000 gallons a year.

- Use your water meter to detect hidden leaks.  Simply turn off all taps and water using appliances, then check the meter after 15 minutes.  If it moved, you have a leak.

#### In Conclusion

Thank you for trusting us with your family's drinking water. Please help protect our community's water by disposing of chemicals safely, conserving water, and reporting suspicious activity near our water sources, which is the heart of our community.

Please call our office if you have questions.

- Village of Dresden (315) 536-2477

- New York State Department of Health (315) 789-3030

(Prepared April 2026)